## Slide 1
Upendra Kaul, MD for the TUXEDO INDIA Investigators
Paclitaxel Eluting Versus Everolimus Eluting Stents in Patients with Diabetes Mellitus and Coronary Artery Disease
One Year Clinical Results

## Slide 2: Disclosures
Upendra Kaul, MD
Boston Scientific Research Grant and Lecture Fee
Abbott Vascular: Lecture Fee
Tuxedo India

## Slide 3: PCI in Patients With Diabetes Why are They at Increased Risk ?
More extensive disease, more complex lesions
Clustering of risk factors and co-morbidities
Profound proliferative vascular response
High risk for restenosis
More prone to blood clotting, altered platelet function and endothelial dysfunction
High risk for stent thrombosis
Tuxedo India
Drug eluting stents have replaced bare metal stents in diabetics because of reduced recurrences

## Slide 4: TUXEDO- India Background
Choice of a DES in diabetic population has been debatable
Results between Limus analogues(Sirolimus,Everolimus and zotarolimus) and Paclitaxel eluting stents have been contradictory.
A meta analysis of 4 trials showed equivalent results between these 2 groups in diabetics (Stone GW et al. Circulation 2011;124:893-900)
On the contrary, in a mixed treatment analysis of 22844 patient years everolimus stent was shown to be the best in diabetics (Bangalore S, et al. BMJ 2012;345:e5170)
In the absence of a dedicated adequately powered study a definitive answer is not possible
Tuxedo India

## Slide 5: Tuxedo India Patient Flow (46 Centres)
Randomized
(N=1830)
(PES)TAXUS
(N=914)
(EES)XIENCE (N=916)
1-Year Follow-up (N=1783; 97.4%)
Excluded = 27
Excluded = 20
(EES)XIENCE (N=896)
(PES)TAXUS
(N=887)
Tuxedo India
Primary Endpoint: Target Vessel Failure(TVF): Composite of Cardiac Death, Target vessel MI or Ischemia-Driven TVR at 1-Year

## Slide 6
Primary End Point: Target Vessel Failure Rate at 1 Year
Months
P=0.02 by log-rank test
PNI=0.38 by F-M test
PSUP= 0.005
HR [95%CI] = 1.64 [1.09-2.47]
PES
EES
*5.9%
*3.2%
Cumulative Incidence (%)
*Events calculated with Kaplan-Meier methods and compared with the use of the log-rank test. Differs slightly from graph which were calculated as categorical variables and compared with use of Chi-Square test.
Tuxedo India
Number at risk |  |  |  |  | 
PES | 914 | 841 | 818 | 789 | 713
EES | 916 | 856 | 846 | 820 | 736

## Slide 7: Death and MI at 1 Year
Parameters | PES n=914 | EES n=916 | P Value
 | no. of patients/total no. (%) |  | 
Death, all | 23 (2.5) | 21 (2.3) | 0.75
- Cardiac | 16 (1.8) | 16 (1.7) | 1.00
- Noncardiac | 7 (0.8) | 5 (0.5) | 0.56
MI, all | 29 (3.2) | 11 (1.2) | 0.004
- Q-Wave | 8 (0.9) | 1 (0.1) | 0.02
- Non-Q-Wave | 22 (2.4) | 10 (1.1) | 0.03
All death or MI | 47 (5.1) | 31 (3.4) | 0.06
Cardiac death or MI | 40 (4.4) | 26 (2.8) | 0.08
Tuxedo India

## Slide 8
Stent Thrombosis Rate at 1 Year
Months
P<0.001 by log-rank test
HR [95%CI] = 5.08 [1.74-14.87]
PES
EES
Cumulative Incidence (%)
*Events calculated with Kaplan-Meier methods and compared with the use of the log-rank test. Differs slightly from graph which were calculated as categorical variables and compared with use of Chi-Square test.
Tuxedo India
Number at risk |  |  |  |  | 
PES | 914 | 845 | 827 | 801 | 726
EES | 916 | 858 | 848 | 825 | 738

## Slide 9: Tuxedo India Conclusions
In this largest DES vs DES trial in diabetics comparing PES vs EES
Primary End Point
PES (Taxus ) did not meet the non inferiority criteria when compare to EES (Xience).
EES (Xience) on superiority analysis proved superior.
This superiority was maintained in insulin requiring patients also
Stent thrombosis and myocardial rates were significantly higher with PES
Tuxedo India

## Slide 10: Clinical Implications
The study supports the current worldwide practice of use of new generation limus eluting stents even in patients with insulin requiring diabetes mellitus. This may have important implications for PES.
The results question the results of CABG vs stenting trials showing superiority of CABG since 1st generation stents which are inferior to EES were used as comparators.
Tuxedo India