## Slide 1: Transcatheter Intracardiac Shunt Device Provides Sustained Clinical Benefit at One Year in Heart Failure with Preserved or Mildly Reduced Ejection Fraction: The REDUCE LAP Heart Failure Trial
David M Kaye MD, PhD
on behalf of the REDUCE LAP HF Investigators

## Slide 2: Disclosures
DK is an unpaid member of the Corvia Medical, Inc. Scientific Advisory Group

## Slide 3: Introduction
Heart failure with preserved ejection fraction (HFPEF) has a complex pathophysiology and remains a therapeutic challenge.
Elevated left atrial pressure, especially during exercise, is a near-universal finding in patients with HFPEF.
Increased LV passive stiffness
Reduced active LV relaxation
Reduced LA compliance

## Slide 4
The magnitude of the exercise - mediated rise in PCWP in HFPEF is related to both symptoms and outcome.
Implications of Elevated LA Pressure in HFPEF
SURVIVAL
Dorfs EHJ 2014
SYMPTOMS
REDUCE LAP-HF Unpublished data

## Slide 5: Left Atrial Decompression: IASD Rationale
Computer simulation demonstrated that an 8mm interatrial shunt device (IASD®) would provide acute LA decompression during exercise
LA pressure
RA pressure
Kaye et al JCardFail 2014

## Slide 6: InterAtrial Shunt Device - Mode of Action
CAUTION ­­ Investigational device. Limited by Federal (or United States) law to investigational use
X
Elevated LV filling
pressures (Elevated LAP)
Pulmonary Venous
hypertension
Pulmonary Congestion & Dyspnea (rest/exercise)
Transcatheter interatrial shunt device

## Slide 7: REDUCE LAP-HF Trial
Hasenfuß G et al: Lancet 2016; 387: 1298–304
Inclusion Criteria (n=64):
Open label
LVEF ≥ 40%,
NYHA class II-IV
Elevated PCWP
≥ 15 mmHg (rest) or
≥ 25 (supine bicycle exercise)
6 month outcomes
& reduced exercise PCWP
Notes: Bar graphs showing New York Heart Association Class, Minnesota Living with Heart Failure score, six minute walk test distance and exercise time during right heart catheterisation at baseline and follow-up.

## Slide 8: One year REDUCE LAP-HF OUTCOMES
To assess device safety (major adverse cardiac, cerebrovascular and systemic embolic events -MACCE), and device performance one year post implant.
  device performance: shunting (echocardiography)
To evaluate persistence of clinical benefit:
clinical efficacy: NYHA class, quality of life (MLWHFQ), 6MW distance
cardiac structure and function (echocardiography)
rest and exercise hemodynamics (optional sub-study, n=18)
  oximetry to assess Qp:Qs (n=13)
Study monitored by independent CEC and DSMB
Objective & Methods

## Slide 9: Baseline Characteristics (n=64)
Age (Y) | 69±8
Gender (% Female/Male) | 66 / 34
LVEF (%) | 47 ± 7
NYHA Class (n, II/III/IV) | 18/46/0
Minnesota Living with HF Score | 49 ± 20
BMI kg/m2 | 33 ± 6
Permanent AF (%) | 36
NT-Pro BNP (median, IQR pg./ml) | 377 (222-925)
Hypertension (%) | 81
Diabetes (%) | 33
Coronary artery disease (%) | 36
Diuretics at baseline (%) | 91
Resting CVP (mm Hg) | 9 ± 4
Resting PCWP (mm Hg) | 17 ± 5

## Slide 10: Safety (MACCE) and Device Performance
MACCE event | Six months % | One year %
Death | 0 | 4.7 (3/64)
Stroke | 0 | 1.5 (1/64)* (pt died)
MI | 0 | 0
Systemic embolic event | 0 | 0
Implant removal | 0 | 0
Effectiveness | Six months % | One year %
L R Shunt flow (Echo) | 100 (49/49) | 100 (48/48)
R L Shunt flow (Echo) | 0 | 0
Qp:Qs | 1.27 ± 0.24 | 1.28 ± 0.25
Device patency confirmed in 54 subjects (by echo or oximetry)

## Slide 11: Sustained Clinical Efficacy
**p<0.01, ***p<0.001 vs baseline
Patients with data at all 3 time points.
Mean D at 1 year: 15 points
Mean D at 1 year: 33m

## Slide 12: Echocardiographic Results
*p<0.05, **p<0.01, ***p<0.001
No change in atrial volumes

## Slide 13: Invasive Hemodynamic Results (rest)
Patients with data at all 3 time points.
 | Baseline | Six months | One year
RA pressure | 8 ± 3 | 11 ± 6 | 10 ± 4
PA mean pressure | 25 ± 8 | 23 ± 7 | 26 ± 8
Wedge pressure | 19 ± 6 | 16 ± 8 | 17 ± 6
Cardiac output | 5.2 ± 1.3 | 6.3 ± 1.4** | 6.7 ± 1.8**
** p<0.01 vs baseline

## Slide 14: Exercise Hemodynamic Results-1
* p<0.05, ** p<0.01 vs baseline

## Slide 15: Exercise Hemodynamic Results-2
* p<0.05, ** p<0.01 vs baseline
IASD therapy provides increased work capacity for a given LA pressure

## Slide 16: Summary and Conclusions
Implantation of an interatrial shunt device appears to be safe with an acceptable MACCE rate through one year of follow-up.
Interatrial shunt device patency was maintained through one year
The clinical and hemodynamic benefit observed 6 months after implant was sustained through one year, with no evidence of adverse sequelae
  Meaningful improvements in NHYA class, exercise capacity and QOL
  Clinically meaningful reduction in normalized PCWP
Randomised trials are required and ongoing to determine the value of this novel strategy for the management of HFPEF.

## Slide 17: Back-up

## Slide 18: Clinical Efficacy
Parameter* | Baseline | Six months | One year
NYHA class (60) | 2.7 ± 0.5 | 2.1 ± 0.7 p < 0.001 | 2.0 ± 0.6 p < 0.001
MLWHF score (59) | 49.1 ± 20.1 | 35.1 ± 23 p < 0.001 | 34 ± 33 p <0.001
6MWT (m) (55) | 331 ± 90 | 359 ± 100 p < 0.01 | 364 ± 92 p <0.01
* Patients with data at all 3 time points.
RM-ANOVA with Bonferroni post hoc