## Slide 1: The Door to Unload (DTU) STEMI Safety & Feasibility Pilot Trial
  Navin K. Kapur, MD FAHA, FACC, FSCAI
  On Behalf of the DTU-STEMI Investigators
2018 American Heart Association
Late Breaking Clinical Science
CONFIDENTIAL DRAFT
Notes: 1

## Slide 2
Background: From Heart Attack to Heart Failure
By the year 2030, 1:33 individuals in the US will have heart failure (HF) and total costs for HF will reach $70 Billion per year.
Despite the contemporary Door to Balloon Strategy, every 5% increase in myocardial infarct size is associated with an increase in 1-year HF hospitalization by 20%
In 1971, Maroko and Braunwald suggested, “that measures designed for reduction of myocardial oxygen demands and improvement of coronary perfusion, when effected promptly might reduce the ultimate size of (a myocardial) infarction.”
Heidenreich et al Circ HF 2013; Stone, Selker, Udelson et al. JACC 2016; Maroko and Braunwald et al Circulation 1971

## Slide 3
Background: From Heart Attack to Heart Failure
Since 1978, multiple preclinical studies have tested whether reducing myocardial oxygen consumption by implementing a circulatory support pump limits myocardial damage in an AMI.
Heart Rate
LV Wall Stress
LV Stroke Work
Coronary Occlusion
Multi-vessel Disease
Microvascular Function
Myocardial
Oxygen Supply
Myocardial
Oxygen Demand

## Slide 4
40 Years of LV Unloading Science (1978-2018)
Unloading before not after Reperfusion is required to reduce infarct size
Kapur NK et al JCTR In Press 2018
Animal Model | Year | Duration of Ischemia (min) | Duration of Reperfusion (min) | Mechanical Support Before or After Reperfusion | Occluded Vessel | Method of Occlusion | Device | Reduction in Infarct Size? | Reference
Canine | 1978 | 480 | X | Before | LAD | Ligation | IABP | Yes | Roberts & Gay [6]
Baboons | 1979 | 1440 | X | Before | LAD | Ligation | IABP | No | Haston & McNamara [7]
Porcine | 1980 | 1440 | X | Before | LAD | Ligation | IABP | No | Laas & Replogle [8]
Porcine | 2008 | 60 | 240 | Before vs After | LAD | Ligation | IABP | Yes / No | Ledoux & Smalling [9]
Canine | 1983 | 240 | X | Before | LAD | Ligation | LA-FA Bypass | Yes | Catinella & Spencer [12]
Porcine | 2013 | 120 | 120 | Before | LAD | Balloon angioplasty | TandemHeart | Yes | Kapur & Karas [13]
Canine | 1989 | 120 | 60 | Before | LAD | Ligation | Hemopump | Yes | Mehrige &Wampler [14]
Canine | 1992 | 120 | 60 | Before | LAD | Snare ligation | Hemopump/IABP | Yes | Smalling & Amirian [15]
Canine | 2005 | 120 | 240 | Before vs After | LAD | Snare ligation | Hemopump | Yes / No | Achour & Smalling [16]
Sheep | 2003 | 60 | 120 | Before vs After | LAD | Ligation | Impella 5.0 | Yes | Meyns & Flameng [17]
Porcine | 2015 | 90 | 120 | Before | LAD | Balloon angioplasty | Impella CP | Yes | Kapur & Karas [18]
Porcine | 2015 | 120 | 120 | Before | LCx | Ligation | Impella LD | Yes | Sun & Wang [20]
Porcine | 2018 | 90 | 120 | Before | LAD | Balloon angioplasty | Impella CP | Yes | Esposito & Kapur [21]

## Slide 5
Preclinical Development of the DTU Concept
2012
2018
TandemHeart
Delayed Reperfusion
(Circulation 2013)
Impella CP
Delayed Reperfusion
(JACC HF 2015)
Impella CP
Cardioprotective Biology
(JACC 2018)
Impella CP
Preclinical Pilot
(JACC 2018)
Impella CP
DTU-STEMI Pilot Trial
(Circulation 2018)
Trans-valvular LV Unloading Limits Myocardial Ischemia and Promotes a Cardioprotective Shift in Myocardial Biology
Esposito, Zhang, Qiao and Kapur et al JACC 2018

## Slide 6
The Rationale for the DTU Pilot Before the Pivotal
Reperfusion
Alone
15 min
30 min
Unloading After
Reperfusion
Unloading + Delayed
Reperfusion
100
80
60
40
20
0
Infarct Size / Area at Risk (%)
?
Esposito, Zhang, Qiao and Kapur et al JACC 2018
DTU Pivotal
DTU
Pilot

## Slide 7
Door To Unload: STEMI Pilot Trial: Central Hypothesis
Compared to LV unloading and immediate reperfusion,
LV unloading followed by a 30 minute delay to reperfusion is feasible and safe as defined by:
Successful enrollment and protocol completion (Feasibility)
No increase in major adverse cardiovascular or cerebral events (MACCE Safety)
No increase in infarct size between groups (Safety)

## Slide 8
Phase 1 safety and feasibility multi-center pilot trial
1:1 randomization to either:
LV unloading + immediate reperfusion (U-IR) or
LV unloading + a 30 minute delay before reperfusion (U-DR)
Independent Data Safety Monitor, Electrocardiographic, Angiographic, and Cardiac Magnetic Resonance Imaging Core Labs
Door To Unload: STEMI Pilot Trial: Study Design
Door To Unload: STEMI Pilot Trial: Study Design

## Slide 9
Electrocardiographic Confirmation
Informed Consent and Enrollment
Explant Impella CP after a minimum of 3 hours support
Anterior STEMI Referred for Primary PCI
Patient preparation, draping, anti-coagulation, anti-platelet therapy, ultrasound guided femoral access, vascular angiogram, left ventriculography, 14 French sheath insertion, then
Randomization to U-IR or U-DR
Impella CP Insertion + Activation
Time is Muscle
Door To Unload: STEMI Pilot Trial: Study Design
U-DR Group
30 minutes of Unloading
Radial (or femoral access), coronary angiography, coronary wiring and angioplasty
U-IR Group
Radial (or femoral access), coronary angiography, coronary wiring and angioplasty

## Slide 10
Additional Safety and Early Efficacy Outcome:
No difference in Infarct size normalized as a percent of total LV mass at 30 days between groups
Primary Safety Outcome:
No difference in a composite of Major Adverse Cardiovascular and Cerebrovascular Events (MACCE) including cardiovascular mortality, reinfarction, stroke, and major vascular events at 30 days between groups
Door To Unload: STEMI Pilot Trial: Study Outcomes

## Slide 11
Inclusion Criteria:
Age 18-75
Anterior STEMI [sum ST-segment elevation (∑STE) > 4mm]
Chest pain onset > 1 hour and < 6 hours
Eligible for Primary PCI
Exclusion Criteria:
Cardiogenic shock
Out of hospital cardiac arrest requiring cardiopulmonary resuscitation
Prior myocardial infarction or pre-existing heart failure
Unable to undergo Cardiac MRI
Door To Unload: STEMI Pilot Trial: Inclusion/Exclusion

## Slide 12
50 patients enrolled randomized and Unloaded
U-IR (n=25)
U-DR (n=25)
Door To Unload: STEMI Pilot Trial: Patient Disposition
No CMR Completed (n=5)
1 expired
1 metallic prosthesis
2 large body mass index
1 outside time window
3-5 Day CMR
30 Day CMR
30 Day MACCE
(n=21)
(n=21)
(n=25)
(n=20)
(n=19)
(n=25)
No CMR Completed (n=4)
1 expired
2 claustrophobic
1 chronic kidney disease
No CMR Completed (n=1)
1 outside time window

## Slide 13
Clinical Variable | U-IR (n=25) | U-DR (n=25) | p-value
Age (mean±SD) | 59±11 | 61±11 | NS
Male, n (%) | 17 (68%) | 21 (84%) | NS
White/Caucasian Race, n (%) | 16 (64) | 18 (72) | NS
Body Mass Index (mean±SD), kg/m2 | 30±10 | 30±6 | NS
Hypertension, n (%) | 12 (48) | 14 (56) | NS
Dyslipidemia, n (%) | 14 (56) | 9 (36) | NS
Renal Insufficiency, n (%) | 0 | 0 | NS
Diabetes, n (%) | 4 (29) | 6 (24) | NS
History of Stroke, n (%) | 1 (4) | 0 | NS
Active nicotine use, n (%) | 5 (20) | 8 (32) | NS
Results: Pre-Randomization Patient Characteristics

## Slide 14
Clinical Variable | U-IR (n=25) | U-DR (n=25) | p-value
Anterior ∑STE > 4 mm, n (%) | 21 (84) | 24 (96) | NS
Anterior ∑STE > 6 mm, n (%) | 19 (76) | 20 (80) | NS
Anterior ∑STE 4-6 mm, n (%) | 2 (8) | 4 (16) | NS
LVEF, % (mean±SD) | 42±12 | 33±13 | p<0.05
LVEDP, mmHg (mean±SD) | 24±8 | 25±10 | NS
MAP, mmHg (mean±SD) | 116±20 | 108±20 | NS
Heart rate, BPM (mean±SD) | 77±14 | 88±20 | NS
Anterior ∑STE = ST-segment Elevation Sum in Leads V1-V4 (mm)
LVEF = LV Ejection Fraction (ventriculography)
LVEDP = LV End-diastolic pressure
MAP = Mean arterial pressure
BPM = beats per minute
Results: Pre-Randomization Patient Characteristics

## Slide 15
Clinical Variable | U-IR (n=25) | U-DR (n=25)* | U-DR (n=25)* | p-value
LAD Culprit, n (%) | 25 (100) | 24 (100) | 24 (100) | NS
Proximal LAD Lesion Location, n (%) | 17 (68) | 19 (76) | 19 (76) | NS
Mid LAD Lesion Location, n (%) | 8 (32) | 5 (21) | 5 (21) | NS
Successful Impella CP Implant, n (%) | 25 (100) | 25 (100) | 25 (100) | NS
Pre-PCI TIMI Flow (After Impella CP Activation) |  |  |  | NS
Pre-Intervention TIMI Flow 0-1, n (%) | 16 (64) | 10 (40) | 10 (40) | NS
Pre-Intervention TIMI Flow 2-3, n (%) | 9 (36) | 15 (60) | 15 (60) | NS
Post-Intervention TIMI Flow |  |  |  | NS
Post-Intervention TIMI Flow 3, n (%) | 25 (100) | 24 (100) |  | NS
LAD = Left anterior descending artery
TIMI = Thrombolysis In Myocardial Infaction
* 1 patient had no coronary obstruction
Results: Procedural Characteristics

## Slide 16
Clinical Variable | U-IR (n=25) | U-DR (n=25)* | p-value
Door to Balloon Time, Min (mean_SD) | 73±24 | 97±26 | <0.01
Door to Unload Time, Min (mean_SD) | 62±24 | 65±26 | NS
Symptom to Unload Time, Min (mean_SD) | 200±152 | 176±73 | NS
Lab Arrival to Unload Time, Min (mean_SD) | 16±9 | 15±8 | NS
Unload to First PTCA Time, Min (mean_SD) | 11±7 | 34±3 | <0.01
Total Impella Support Time, Hrs (mean_SD) | 5±4 | 8±8 | NS
* 1 patient had no coronary obstruction
Min = minutes
Hrs = hours
PTCA = Percutaneous trans-coronary angioplasty
Results: Procedural Characteristics

## Slide 17
Unload to Balloon Time (Minutes)
0
5
10
15
20
25
30
35
40
45
U-DR
U-IR
Enrolled Patients
30 minutes of
LV Unloading
Results: Successful enrollment & protocol completion Zero Bailout PCI in the U-DR Group

## Slide 18
DTU-STEMI Results: Primary Safety Outcome
Clinical Variable | U-IR (n=25) | U-DR (n=25) | p-value
CV mortality, n (%) | 1 (4%) | 1 (4%) | NS
Reinfarction, n (%) | 0 | 0 | NS
Stroke or TIA, n (%) | 1 (4%) | 0 | NS
Traditional 30-Day MACCE, n (%) | 2 (8%) | 1 (4%) | NS
Major Vascular Events, n (%) | 0 | 2 (8%) | NS
Total Composite 30-Day MACCE, n (%) | 2 (8%) | 3 (12%) | NS
TIA = transient ischemic attack
MACCE = Major Adverse Cardiovascular and Cerebrovascular Events
CV Mortality:
1 mortality on day 28 due to chronic lung disease and 1 on day 1 due to shock on admission
Major Vascular Events:
2 iliofemoral dissections at the time of device removal

## Slide 19
DTU-STEMI Results: Primary Efficacy Outcome
30-day Infarct Size (CMR)
Chart: 
| U-IR | U-DR
 | 15 | 13
% Infarct / Total LV Mass
NS
15±11
13±11
Compared to U-IR, unloading first then delaying reperfusion for 30 minutes did not increase infarct size

## Slide 20
Chart: 
| U-IR | U-DR | CRISP-AMI
30 Day IS/LV | 19 | 16.7 | 39
Chart: 
| U-IR | U-DR | CRISP-AMI
 | 48.4 | 55.8 | 35
Chart: 
| U-IR | U-DR | CRISP-AMI
 | 2.7 | 1.3 | 6
U-IR
U-DR
CRISP
AMI
Infarct Size vs
Total LV Mass (%)
Myocardial Salvage
Index (%)
Microvascular Obstruction (%)
U-IR
U-DR
CRISP
AMI
U-IR
U-DR
CRISP
AMI
DTU-STEMI Results: 3-5 Day CMR Parameters
Compared to U-IR, unloading first then delaying reperfusion for 30 minutes did not increase infarct size

## Slide 21
DTU-STEMI Results: Exploratory Subgroup Analysis
U-IR
U-DR
19
16
STE>4
Total
STE>5
STE>6
100
80
60
40
20
0
Infarct Size / Area at Risk (%)
15
*
STE>4
Total
STE>5
STE>6
Infarct Size / Total LV Mass (%)
40
30
20
10
0

## Slide 22
What did we learn from this Pilot Study?
The Door-To-Unload in STEMI Pilot Trial demonstrates for the first time that LV unloading using the Impella CP device with a 30-minute delay before reperfusion is safe and feasible within a relatively short DTB Time.
No prohibitive safety signals that would preclude proceeding to a larger pivotal study of LV unloading and delaying reperfusion for 30 minutes were identified.
Compared to LV unloading and immediate reperfusion, LV unloading and delaying reperfusion for 30 minutes does not increase infarct size.
Among patients with sum STE>6mm, infarct size normalized to the area at risk was significantly lower with 30 minutes of LV unloading before reperfusion compared to LV unloading and immediate reperfusion.

## Slide 23
Door To Unload: STEMI PIVOTAL Trial
Informed Consent
INCLUSION CRITERIA
Age 21-80 years
First Myocardial Infarction
Acute STEMI (anterior ST elevation ≥2 mm in ≥2 contiguous or ≥4 mm ST-sum)
Within 1 to 6 hours of symptom onset
Anterior STEMI Referred for Primary PCI
Immediate PCI Reperfusion
No LV Unloading
(DTB Group)
LV Unloading for 30 minutes,
Then Delayed Reperfusion
(DTU Group)
Enrollment and Randomization
Impella CP Insertion + Activation

## Slide 24
Mohamad Alkhouli | West Virginia University
Tony DeMartini | Advocate Heart Institute
Haroon Faraz | Hackensack University Med Ctr
Zachary George | Greenville Memorial Hospital
Mark Goodwin | Advocate Heart Institute
Jaime Hernandez-Montfort | Baystate Medical Center
Vijay Iyer | University of Buffalo
Noam Josephy | Abiomed Inc.
Sanjog Kalra | Einstein Medical Center
Amir Kaki | Detroit Medical Center
Richard Karas | Tufts Medical Center
Carey Kimmelstiel | Tufts Medical Center
Gerald Koeing | Henry Ford Medical Center
Evan Lau | Baystate Medical Center
Kapil Lotun | University of Arizona
Ryan Madder | Spectrum Health
Salvatore Mannino | WellStar Kennestone Hospital
Perwaiz Meraj | Northwell Health
Jason Moreland | West Virginia University
Jeffrey Moses | Columbia University
Raymond Kim | Duke University Medical Center
Theodore Schreiber | Detroit Medical Center
James Udelson | Tufts Medical Center
Christian Witzke | Einstein Medical Center
David Wohns | Spectrum Health
Acknowledgements: DTU STEMI Trial Investigators
National Principal Investigators: Navin Kapur, MD and William O’Neill, MD

## Slide 25: The Door to Unload (DTU) STEMI Safety & Feasibility Pilot Trial
  Thank you
  nkapur@tuftsmedicalcenter.org
2018 American Heart Association Late Breaking Clinical Science
Notes: 25
  Moderated panel questions & discussion after each of the three key parts of the presentation